## Slide 1
Heating_min_time(-1)
RELAY ON
20
150
Start_defrosting(2)
RELAY OFF
10
0
Defrosting started(-2)
RELAY OFF
30
dT >= defrostigT
dT <=0
(defrosting started)
Max heating time passed
Temp_exceeded(1)
RELAY ON
5
4
dT < defrostigT
Idle(0)
RELAY ON
150
4
dT long enough >= defrostingT
Defrost timeout
(defrosting not started)
Minimun defrost time passed
Minimum heating time passed
Max heating time passed
Reset(-4)
RELAY OFF
0
Max heating time passed
dT <=0
(defrosting started)